
Terms and Conditions of Supply

Project Name: “Strengthening HIV Control in Moldova, 2015-2017 (Grant MDA-H-PAS)” project financed by Global Fund to Fight AIDS, Tuberculosis and Malaria
Purchaser: Center for Health Policies and Studies 

	1. Prices and Schedules for Supply

№
	Item
	Quantity

(tests)
	Unit Price 

CIP Chisinau, [Currency]
	Total Price 

CIP Chisinau, [Currency]
	Delivery Time [days]

	1. 
	Rapid test for simultaneous qualitative detection of antibodies to HIV1/2 in capillary whole blood
	5000
	
	
	

	2. 
	Rapid test for simultaneous qualitative detection of antibodies to HIV1/2 in saliva
	5000
	
	
	

	3. 
	Rapid test for qualitative detection of antibodies to Treponema Pallidum in capillary whole blood
	10500
	
	
	

	4. 
	Rapid test for qualitative detection of IgG-type antibodies to viral hepatitis C (VHC) in capillary whole blood
	5500
	
	
	


Note: In case of discrepancy between unit price and total derived from unit price, the correction will be done as provided in Paragraph 7 (ii) of the Invitation to quote

2. Fixed Price:  The prices indicated above are firm and fixed and not subject to any adjustment during contract performance. 
3. Country of Origin: The goods offered should have their origin in World Bank member countries, and you will be required to furnish a certificate of origin for each item.

4. Delivery Schedule: The delivery should not exceed 90 days from contract signature.
5. Applicable Law: The Contract shall be interpreted in accordance with the United Nations Commission on International Trade Law (UNCITRAL).

6. Resolution of Disputes: The PAS Center and the Supplier shall make every effort to resolve amicably by direct informal negotiation any disagreement or dispute between them under or in connection with the Contract. In the case of a dispute between the PAS Center and the Supplier, the dispute shall be settled in accordance with the UNCITRAL procedures.

7. Delivery and Documents: Upon shipment, the Supplier shall notify the PAS Center the full details of shipment, including description of goods, quantity, etc. The Supplier shall submit the following documents to the PAS Center:
(i) Copies of the Supplier’s invoice showing goods’ description, quantity, unit price, and total amount;

(ii) Delivery document duly filled in, signed and sealed.
The above documents shall be received by the PAS Center at least one week before arrival of the goods at the port of place of arrival and, if not received, the Supplier shall be responsible for any consequent expenses.

8. Payment: for your invoice will be made 100% against delivery of goods, by bank transfer in favor of the Supplier’s Bank, within ten (10) days from receipt of the goods.
or

100% of the contract value will be paid in advance within 10 (ten) working days upon the PAS Center's receipt of a copy of this Contract signed by the Consultant and against Bank Guarantee for Advance Payment in the amount of 100 % of the contract value acceptable by the PAS Center;
9. Packaging and Marking Instructions: The Supplier shall provide standard packing of the Goods as required preventing their damage or deterioration during transit to their final destination.
10. Defects: All defects will be corrected by the Supplier without any cost to the PAS Center within 30 days from the date of notice by PAS Center.
11. Force-Majeure:  The supplier shall not be liable for penalties or termination for default if and to the extent that it’s delay in performance or other failure to perform its obligations under the Contract is the result of an event of Force-Majeure.
For purposes of this clause, “Force-Majeure” means an events beyond the control of the Supplier and not involving the Supplier’s fault or negligence and not foreseeable. Such events may include, but not restricted to, act of PAS Center in its sovereign capacity, wars or revolutions, fires, floods, epidemics, quarantine restrictions, and freight embargoes.

If a Force-Majeure situation arises, the Supplier shall promptly notify the PAS Center in writing of such condition and the cause thereof. Unless otherwise directed by the PAS Center in writing, the Supplier shall continue to perform its obligations under the Contract as far as is reasonably practical, and shall seek all reasonable alternative means for performance not prevented by Force-Majeure event. 

12. Required Technical Specifications
I. Quality Requirements

The products offered shall meet the following quality requirements:

· EC Certificate of Conformity (Copies of EC Certificates for the products offered shall be included with the offer);
· Certificate under ISO 13485 or an equivalent quality management system recognized by a member of the Global Harmonization Task Force (GHTF) (Copies of supporting documents for the products offered shall be included with the offer) 

· Tests should be recommended by WHO for use within HIV/AIDS prevention programs based on a technical analysis of quality and performance indicators
or
approved by the authorities of GHTF founding members (USA, EU, Canada, Japan and Australia)
or
determined by GHTF as acceptable for purchase following consultations with a group of experts
(Copies of supporting documents for the products offered shall be included with the offer).

II. Shelf life on delivery shall be at least 80% of the total period of validity.
III.  Technical Requirements:
	Product
	Required Specifications
	Supplier Specifications

	Rapid test for simultaneous qualitative detection of antibodies to HIV1/2 in capillary whole blood
	Rapid test for simultaneous detection of antibodies HIV1 (M and O group) and HIV2.

The test is performed with capillary whole blood samples.

Antigens used are at least: recombinant protein or peptide gp41 for HIV1, peptide gp36 for HIV2.

Format: individually packed and sealed kits for each blood sample.

The test kit contains a control strip for checking the test quality.

Number of operations – up to 3 steps.

Testing does not require special equipment.

Test validation and testing result assessment are done visually.

Testing time – up to 30 minutes.

Test stability – not less than 20 minutes.

The test instruction contains a clear description of sampling, testing, test validation and result interpretation (positive, negative, uncertain) procedures, actions in case of a positive result or suspicion, special precautions during storage, shelf life, work safety rules and precautions.

The kit contains all chemical agents and accessories necessary for testing.

Additionally, to the standard kit there are antiseptic napkins, sterile lancets and gloves according to the number of tests.

Sensitivity 100%

Specificity ≥99.5%


	[to be completed by Supplier]

	Rapid test for simultaneous qualitative detection of antibodies to HIV1/2 in saliva
	Express test for simultaneous detection of antibodies to HIV1 (M and O group) and HIV2.

The test is performed with human saliva samples.

Antigens used are at least: recombinant protein or peptide gp41 for HIV1, peptide gp36 for HIV2.
Format: individually packed and sealed kits for each saliva sample.

The test kit contains a control strip for checking the test quality.

Number of operations – up to 3 steps.

Testing does not require special equipment.

Test validation and testing result assessment are done visually.

Testing time – up to 30 minutes.

Test stability – not less than 20 minutes.

The test instruction contains a clear description of sampling, testing, test validation and result interpretation (positive, negative, uncertain) procedures, actions in case of a positive result or suspicion, special precautions during storage, shelf life, work safety rules and precautions.

The kit contains all chemical agents and accessories necessary for testing.

The kit is meant for testing up to 50 persons.
Sensitivity ≥99%

Specificity ≥99,5%


	[to be completed by Supplier]

	Rapid test for qualitative detection of antibodies to Treponema Pallidum in capillary whole blood
	Rapid test for detection of antibodies to Treponema Pallidum.

The test is performed with capillary whole blood samples.

Treponema Pallidum antigens are used for the test. 

Format: individually packed and sealed kits for each blood sample.

The test kit contains a control strip for checking the test quality.

Number of operations – up to 3 steps.

Testing does not require special equipment.

Test validation and testing result assessment are done visually.

Testing time – up to 30 minutes.

Test stability – not less than 20 minutes.

The test instruction contains a clear description of sampling, testing, test validation and result interpretation (positive, negative, uncertain) procedures, actions in case of a positive result or suspicion, special precautions during storage, shelf life, work safety rules and precautions.

The kit contains all chemical agents and accessories necessary for testing.

Additionally, to the standard kit there are antiseptic napkins, sterile lancets and gloves according to the number of tests.

Sensitivity ≥99%

Specificity ≥99,5%


	[to be completed by Supplier]

	Rapid test for qualitative detection of IgG-type antibodies to viral hepatitis C (VHC) in capillary whole blood
	Express test for detection of antibodies to VHC.

The test is performed with capillary whole blood samples.

Format: individually packed and sealed kits for each blood sample.

The test kit contains a control strip for checking the test quality.

Number of operations – up to 3 steps.

Testing does not require special equipment.

Test validation and testing result assessment are done visually.

Testing time – up to 30 minutes.

Test stability – not less than 20 minutes.

The test instruction contains a clear description of sampling, testing, test validation and result interpretation (positive, negative, uncertain) procedures, actions in case of a positive result or suspicion, special precautions during storage, shelf life, work safety rules and precautions.

The kit contains all chemical agents and accessories necessary for testing.

Additionally, to the standard kit there are antiseptic napkins, sterile lancets and gloves according to the number of tests.

Sensitivity 100%

Specificity ≥99,5%


	[to be completed by Supplier]


Supplier confirms compliance with above specifications {In case of deviations supplier to list all such deviations}.
13. Failure to Perform: The PAS Center may cancel the Agreement if the Supplier fails to deliver the Goods, in accordance with the above terms and conditions, in spite of a 21-day notice given by the PAS Center, without incurring any liability to the Supplier. 

14. Delays: If the Supplier fails to deliver any or all of the goods by the date of delivery or perform the Related Services within the period specified in the Contract (as provided by Delivery schedule above), the Purchaser may without prejudice to all its other remedies under the Contract, deduct from the Contract Price, as liquidated damages, a sum equivalent to the percentage of 0.2% of the delivered price of the delayed goods or unperformed services for each day or part thereof of delay until actual delivery or performance, up to a maximum deduction of the percentage of ten (10)% of the contract price.
NAME OF SUPPLIER________________________________________________


Authorized Signature________________________________________


Date:

PAGE  
6

