Terms and Conditions of Supply

Project Name: Enhancing Pandemic Preparedness and Response capacity in the Republic of Moldova

Purchaser: Center for Health Policies and Studies

- Prices and Schedules for Supply

| Nr. | Name of the product | Unit Price | Quantity | Total Price | Delivery Time |
| --- | --- | --- | --- | --- | --- |
| 1 | Enzyme Ag Patg-ID One Step RT-PCR Kit (1000 tests kit) |  | 2 |  |  |
| 2 | RNA/DNA Column Extraction kit from biological samples (100 tests kit) |  | 5 |  |  |
| 3 | Reverta-L (Revers Transcription) (100 tests kit) |  | 10 |  |  |
| 4 | ORVI–Screen Fl Kit (50 tests kit) |  | 10 |  |  |
| 5 | Penicillin-Streptomycin mixture 100X (20 mL) |  | 1 |  |  |
| 6 | Benzylpenicillin sodium salt (Penicillin G sodium salt), 100 mg/mL, 10 vials/pack |  | 1 |  |  |
| 7 | Receptor-destroying enzyme (RDE) (20 ml vial) |  | 2 |  |  |
| 8 | Universal viral transport system (UTM Virus Collection) |  | 1000 |  |  |
| 9 | Dulbecco's Modified Eagle Medium (500 ml ) |  | 10 |  |  |
| 10 | Trypsin-TPCK treated (1 bottles 50 mg) |  | 1 |  |  |
| 11 | Trypsin-EDTA solution, 0,05% (1x 500 ml) |  | 4 |  |  |
| 12 | Fetal bovine serum (FBS), bulk 500 mL |  | 2 |  |  |
| 13 | HEPES buffer solution pH 7,5 (1M) bulk 250 mL |  | 2 |  |  |
| 14 | Albumin Bovine Fraction V (7,5%) bulk 100 mL |  | 2 |  |  |
| 15 | Geniticin G418-Sulphate, Liquid, (1x20 ml) |  | 1 |  |  |
| 16 | Alsever’s Solution (1x100 ml) |  | 2 |  |  |
| 17 | Liquid nitrogen, 1L |  | 300 |  |  |
| 18 | Disposable sterile plastic serological pipets, 5.0mL |  | 1000 |  |  |
| 19 | Disposable sterile plastic serological pipets, 10.0mL |  | 1000 |  |  |
| 20 | Disposable gowns size L |  | 300 |  |  |
| 21 | Disposable gowns size XL |  | 300 |  |  |
| 22 | Powder-free latex gloves, size S, 100 units/box |  | 50 |  |  |
| 23 | Powder-free latex/nitrile gloves, size M in box 50 pairs |  | 50 |  |  |
| 24 | Laboratory refrigerator |  | 2 |  |  |
| 25 | Decontamination, filters changing and certifying for BSC Level 2 ESCO Infinity |  | 2 |  |  |

### Note: In case of discrepancy between unit price and total derived from unit price, the correction will be done as provided in Paragraph 7 (iii) of the Invitation to quote

- Fixed Price:  The prices indicated above are firm and fixed and not subject to any adjustment during contract performance.

- The Purchaser reserves the right at the time of contract finalization to increase or decrease by up to 15% the quantity of goods and services originally specified without any change in unit prices as other terms and conditions.

- Country of Origin: The goods offered should have their origin in World Bank member countries, and you will be required to furnish a certificate of origin for each item.

- Delivery Schedule: The delivery should be completed as per above schedule but not no later than July 1, 2018 for LOT1,2,3 and 31 May, 2018 for LOT2. The Supplier shall be the sole responsible for failure to comply with the obligations he undertook in the agreement, the PAS Center is entitled to deduct the equivalent of 0,1% per day of delay out of the total value of the agreement but not more than 5% of the contract value. This amount will replace penalties as such.

- Applicable Law: The Contract shall be interpreted in accordance with the laws of the Purchaser's country.

- Resolution of Disputes: The Purchaser and the Supplier shall make every effort to resolve amicably by direct informal negotiation any disagreement or dispute between them under or in connection with the Contract. In the case of a dispute between the Purchaser and the Supplier, the dispute shall be settled in accordance with the country procedures.

- Delivery and Documents: Upon shipment, the Supplier shall notify the Purchaser the full details of shipment, including contract number, description of goods, quantity, etc. The Supplier shall submit the following documents to the Purchaser:

- delivery document duly filled in, signed and sealed.

- manufacturer's or supplier's warranty certificate (if applicable);

- certificate of origin;

- certificate of quality.

- Payment: Invoices will be paid in 3 (three) working days in an amount of 100% against shipping documents and signature of acceptance certificate.

- Warranty: Goods offered should be covered by manufacturer’s warranty.

- Packaging and Marking Instructions: The Supplier shall provide standard packing of the Goods as required preventing their damage or deterioration during transit to their final destination, as indicated in the Contract.

- Defects: All defects will be corrected by the Supplier without any cost to the Purchaser within 30 days from the date of notice by Purchaser.

- Force-Majeure:  The supplier shall not be liable for penalties or termination for default if and to the extent that its delay in performance or other failure to perform its obligations under the Contract is the result of an event of Force-Majeure.

For purposes of this clause, “Force-Majeure” means an events beyond the control of the Supplier and not involving the Supplier’s fault or negligence and not foreseeable. Such events may include, but not restricted to, act of Purchaser in its sovereign capacity, wars or revolutions, fires, floods, epidemics, quarantine restrictions, and freight embargoes.

If a Force-Majeure situation arises, the Supplier shall promptly notify the purchaser in writing of such condition and the cause thereof. Unless otherwise directed by the Purchaser in writing, the Supplier shall continue to perform its obligations under the Contract as far as is reasonably practical, and shall seek all reasonable alternative means for performance not prevented by Force-Majeure event.

- Required Technical Specifications

Shelf life on delivery shall be at least 90% of the total period of validity.

| Nr. | Name of the product | Specifications and Requirements |
| --- | --- | --- |
| 1 | Enzyme Ag Patg-ID One Step RT-PCR Kit (1000 tests kit) | Purpose: AgPath-ID™ One-Step RT-PCR Reagents are designed for sensitive, robust amplification of RNA targets using a rapid single-tube TaqMan® real-time reverse transcription PCR (RT-PCR) strategy. Sufficient for 1000 reactions of 25 µL, contains: 14 mL 2X RT-PCR Buffer 1100 µL 25X RT-PCR Enzyme Mix 2 x 1.2 mL Detection Enhancer 25 mL Nuclease-free Water. |
| 2 | RNA/DNA Column Extraction kit from biological samples (100 tests kit) | - Purpose: RNA/DNA Extraction kit from biological samples (nasal swabs) designed for rapid preparation of highly pure viral nucleic acids, including Influenza viruses. Containing: Collecting tubes for all steps of extraction. Suitability: molecular biology grade, Dnase, Rnase free. Storage and shipping conditions: 15°C to 25°C - Quality management system: ISO and CE mark; Shelf life: no less than 24 months from date of manufacture |
| 3 | Reverta-L (Revers Transcription) (100 tests kit) | - Purpose: Kit for revers transcription reaction suitable for ORVI-screen-FL kit. Designed to produce cDNA on RNA template for subsequent PCR analysis; - Quality management system: ISO and CE mark; Shelf life: no less than 24 months from date of manufacture |
| 4 | ORVI–Screen Fl Kit (50 tests kit) | - Purpose: Kit for real-time (preferential) or conventional PCR (polymerase chain reaction) testing. A set of reagents for the detection and identification of specific nucleic acid fragments of pathogens of acute respiratory viral infections (SARS): human respiratory syncytial virus (hRSv), human metapneumovirus (hMpv), human parainfluenza viruses 1, 2, 3, and 4 types (hPiv), human coronaviruses of OS43, E229, NL63, HKUI (hCov), human rhinovirus (hRv), human adenovirus DNA groups B, C and E (hAdv) and human bokavirus (hBov) in clinical material. - Sensibility > 95%; Specificity 100 %; - Quality management system: ISO and CE mark; - Kit contains all necessary reagents for nucleic acid extraction, revers transcription, amplification, detection and control test. Shelf life: no less than 24 months from date of manufacture |
| 5 | Penicillin-Streptomycin mixture 100X, (20 mL) | - Purpose: Validated Application: Prevention of Cell Culture Contamination Agent: Penicillin (10 000 U/ml) Streptomycin sulfate (10 000 μg/ml) Form: Liquid Reagent Type: Antibiotic, Concentrated: 100 X Product Size: 20 mL Regulatory Statement: For Research Use Only. Not for use in diagnostic procedures. Storage conditions: -5 to -20°C Shipping conditions: Frozen Shelf life: 24 months from date of manufacture Certificate CE, EU Approved origin, in vitro diagnostic |
| 6 | Benzylpenicillin sodium salt (Penicillin G sodium salt), 100 mg/mL, 10 vials/pack | - Purpose: Validated Application: Prevention of Cell Culture Contamination Agent: Penicillin G sodium salt 100 mg/mL Form: Penicillin G Sodium is a water soluble benzylpenicillin Reagent Type: Antibiotic, Concentrated: 100 X Product Size: 10 mL Regulatory Statement: For Research Use Only. Not for use in diagnostic procedures. Storage conditions: -5 to -20°C Shipping conditions: Frozen Shelf life: 24 months from date of manufacture Certificate CE, EU Approved origin, in vitro diagnostic |
| 7 | Receptor-destroying enzyme (RDE) (20 ml vial) | Used for eliminating inhibitors in human serum during hemagglutination inhibition testing of the influenza virus. RDE (lypholised product), 20mL x 1 vials Isolated from pure Vibrio cholerae Ogawa strain 558 culture. Each vial contains 2mg of kanamycin sulphate as a preservative to ensure longevity and reliability. Protease activity = nearly 30-60 units(1µg/ml=2.5units) NA activity = nearly 30-100 units(unit/0.1mL) Material Safety Data Sheet (MSDS) and other documentation freely available upon request. |
| 8 | Universal viral transport system (UTM Virus Collection) | Purpose: Kit for samples collection (swabs & universal viral transport system); Universal Transport Medium, UTM™, room temperature stable viral transport medium for collection, transport, maintenance and long term freeze storage of Viruses, such as Influenza specimens. UTM™ for using in Rapid Antigen Testing, DFA, Culture and for Molecular-based Assays. ºC Swab: 2 regular size plastic/ polyester flocked applicators Tube size and contain: (16x100mm; 3ml UTM™ medium Suitability: sterile, individually wrapped. 12-month shelf life. CE approved origin |
| 9 | Dulbecco's Modified Eagle Medium (500 ml ) | Purpose: Dulbecco's Modified Eagle Medium (DMEM) With 4.5gm Glucose per litre, L-Glutamine, 25mM HEPES buffer, Sodium bicarbonate liquid, sterile-filtered, without sodium pyruvate, suitable for cell culture. 1X Liquid Cell Culture Medium bottles of 500 mL Suitability: Sterile-filtered, endotoxin tested, cell culture tested. Certificate CE, WHO Approved origin, in vitro diagnostic Shelf life:12 months from date of manufacture. |
| 10 | Trypsin-TPCK treated (1 bottles 50 mg) | Purpose: Trypsin-TPCK (N-tosyl-L-phenylalanyl chloromethyl ketone) treated from bovine pancreas. Cell culture tested. For R&D use only. Product description: Enzyme Commission (EC) Number: 3.4.21.4 CAS RN: 9002-07-7 Molecular Weight: 24 kDa Extinction Coefficient: E1% = 12.9 - 15.4 (280 nm) pI: 10.1 - 10.5 Storage conditions: - 20ºC Certificate CE, WHO Approved origin. |
| 11 | Trypsin-EDTA solution, 0,05% (1x 500 ml) | Purpose: 0.05% Trypsin-EDTA (1X) (Trypsin-ethylenediaminetetraacetic acid) (0,05% trypsin; 0.53 mM EDTA x 4Na), phenol red Storage conditions: -5 to -20°C. Shipping conditions: Frozen. Shelf life: 24 months from date of manufacture. Suitability: Sterile-filtered, endotoxin tested, cell culture tested. Certificate CE, EU Approved origin, in vitro diagnostic |
| 12 | Fetal bovine serum (FBS), bulk 500 mL | Purpose: Certified FBS undergoes special biochemical and hormonal profile and bacterial testing. Lowest-endotoxin. Good for sensitive cell lines. Sterility: sterile-filtered Composition: Hemoglobin, ≤20 mg/dL Impurities: ≤10 EU/mL endotoxin Suitability: suitable for sensitive cell culture Suitability: Sterile-filtered, cell culture tested; Storage conditions: - 20ºC Shipped in: dry ice. Certificate CE, WHO Approved origin. |
| 13 | HEPES buffer solution pH 7,5 (1M) bulk 250 mL | Purpose: 1M stock solution in H2O, pH 6.0-8.0; Synonym: 4-(2-Hydroxyethyl) piperazine-1-ethanesulfonic acid; Molecular formula: C8H18N2O4S; Molecular weight: 238.30; Suitability: molecular biology grade, DNAse/RNAse none detected, chemically and enzymatically stable. Certificate CE, EU Approved origin, in vitro diagnostic |
| 14 | Albumin Bovine Fraction V (7,5%) bulk 100 mL | Purpose: Albumin Bovine Fraction V 7,5%, for cell cultivation, sterile-filtered, endotoxin tested, cell culture tested Form: Liquid; Certificate CE, EU Approved origin, in vitro diagnostic |
| 15 | Geniticin G418-Sulphate, Liquid, (1x20 ml) | Purpose: Geniticin G418-Sulphate, Form: Liquid Reagent Type: Antibiotic, Product Size: 20 mL Regulatory Statement: For Research Use Only. Not for use in diagnostic procedures. Storage conditions: 2 to 8°C, protect from light Shipping conditions: on cold Shelf life: 24 months from date of manufacture Certificate CE, EU Approved origin, in vitro diagnostic |
| 16 | Alsever’s Solution (1x100 ml) | Purpose: Alsever’s Solution, Form: Liquid; This product is composed of (in g/L): - NaCl (4.2) - Citric Acid•3Na•2H2O (8.0) - Citric Acid•H2O (0.55) - D-Glucose (20.5). Shelf life: no less than 24 months from date of manufacture Certificate CE, EU Approved origin, in vitro diagnostic |
| 17 | Liquid nitrogen, 1L | Purpose: Liquid Nitrogen - odorless, colorless, non-corrosive and nonflammable liquefied gas, for maintaining cell cultures for influenza viruses isolation and identification. |
| 18 | Disposable sterile plastic serological pipets, 5.0 mL | Purpose: Sterile, crystal-grade polystyrene serological pipets, cotton-plugged; Capacity: 5.0 mL, negative graduation; Wrap: individual; Suitability: offer 0,75% accuracy with a 1% coefficient of variation, Contrast graduations, sterile. Shelf life: no less than 5 years from date of manufacture CE approved origin |
| 19 | Disposable sterile plastic serological pipets, 10.0 mL | - Purpose: Sterile, crystal-grade polystyrene serological pipets, cotton-plugged; Capacity: 10.0mL, negative graduation; Wrap: individual; Suitability: offer 0,75% accuracy with a 1% coefficient of variation, Contrast graduations, sterile. Shelf life: no less than 5 years from date of manufacture CE approved origin |
| 20 | Disposable gowns size L | - Purpose: Protective clothing (for protection and comfort without the risks of laboratory interference, infection or allergic reaction). Excellent fluid resistant & breathability features. Manufactured from a non-woven material for extra coolness and comfort when worn over clothing. They have soft stockinet cuffs which are very comfortable and of real benefit when overgloving. Size: Large (L) |
| 21 | Disposable gowns size XL | - Purpose: Protective clothing (for protection and comfort without the risks of laboratory interference, infection or allergic reaction). Excellent fluid resistant & breathability features. Manufactured from a non-woven material for extra coolness and comfort when worn over clothing. They have soft stockinet cuffs which are very comfortable and of real benefit when overgloving. Size: Extra large (XL) |
| 22 | Powder-free latex gloves, size S, 100 units/box | - Purpose: Powder-free disposable latex gloves for protection and comfort without the risks of laboratory interference, infection or allergic reaction; Package: 100 gloves per box; Size: Small (S); Thickness: 9,0 mils Suitability: powder-free |
| 23 | Powder-free latex gloves, size M, 100 units/box | - Purpose: Disposable latex gloves for protection and comfort without the risks of laboratory interference, infection or allergic reaction; Package: 100 gloves per box; Size: Medium (M); Thickness: 9,0 mils Suitability: powder-free |
| 24 | Laboratory refrigerators | Chamber type - Vertical Door type - Solid Insulation - Polyurethane or other material with similar properties with thickness of at least 5 cm and a density of 35 – 40 kg/ m³ for both, the door and the refrigerator chamber Material - Made in stainless steel interior Dimensions: Width: max.90 cm; Depth: max 80 cm.; Height: max.205 cm. Net volume: Min. 340 liters Shelves: At least 3 Temperature field: Adjustable between 0- 2 ° C and max 15 ° C Control - Performed via a controller with LCD or LED display with microprocessor, which displays the chamber temperature and allows temperature setting in steps of 0,1°C Power supply - Operation at 220 V/50 Hz |
| 25 | BSC Level 2 ESCO Infinity | Decontamination, filters changing and certifying - HEPA filters operate at a typical efficiency of >99.99% at 0.3 microns, providing a higher level of personnel, product and environmental protection for Esco Infinity® Class II Biological Safety Cabinet (BSC). |

Supplier confirms compliance with above specifications {In case of deviations supplier to list all such deviations}

- Failure to Perform: The Purchaser may cancel the Agreement if the Supplier fails to deliver the Goods, in accordance with the above terms and conditions, in spite of a 21-day notice given by the Purchaser, without incurring any liability to the Supplier.

NAME OF SUPPLIER________________________________________________

Authorized Signature________________________________________

Date: