Terms and Conditions of Supply

Project Name: Enhancing Pandemic Preparedness and Response capacity in the Republic of Moldova

Purchaser: Center for Health Policies and Studies

- Prices and Schedules for Supply

| Nr. | Name of the product | Unit Price | Quantity | Total Price | Delivery Time |
| --- | --- | --- | --- | --- | --- |
| Lot N1 – Diagnostic & biochemical reagents, medium. For RT-PCR testing |  |  |  |  |  |
| 1.1 | Medium for cell cultivation (D-MEM, high Glucose, L-Glutamine) |  | 10,0 liters |  |  |
| 1.2 | Dulbecco's Modified Eagle Medium |  | 5,0 liters |  |  |
| 1.3 | Dulbecco's Modified Eagle Medium (DMEM), With 4.5gm Glucose per litre, L-Glutamine, 25mM HEPES buffer, Sodium pyruvate and Sodium bicarbonate |  | 5,0 liters |  |  |
| 1.4 | Trypsin-TPCK treated (2 bottles x 25,0 mg) |  | 50,0 mg |  |  |
| 1.5 | Trypsin-EDTA solution, 0,05% |  | 3,0 liters |  |  |
| 1.6 | Penicillin-Streptomycin mixture 100 x (100 mL) |  | 5,0 bottles |  |  |
| 1.7 | Fetal bovine serum (FBS), bulk 500 mL |  | 1,0 liter |  |  |
| 1.8 | HEPES buffer solution 1M |  | 1,0 liter |  |  |
| 1.9 | Albumin Bovine Fraction V |  | 200,0 mL |  |  |
| 1.10 | Geniticin G418-Sulphate (2 bottles x 5,0 g), Powder |  | 10,0 g |  |  |
| 1.11 | Geniticin G418-Sulphate, Liquid |  | 20,0 mL |  |  |
| 1.12 | Alsever’s Solution |  | 0,5 liter |  |  |
| 1.13 | Parainfluenza genotyping RT-PCR kit |  | 50 tests |  |  |
| 1.14 | Respiratory syncytial virus (RSV) RT-PCR kit |  | 50 tests |  |  |
| 1.15 | Adenovirus PCR kit |  | 50 tests |  |  |
| 1.16 | ORVI-screen-FL kit |  | 1000 tests |  |  |
| 1.17 | MERS-Coronavirus PCR kit |  | 50 tests |  |  |
| 1.18 | Revers Transcription kit |  | 1000 tests |  |  |
| 1.19 | RNA/DNA Extraction kit from biological samples |  | 2000 test |  |  |
| 1.20 | Alcohol/Ethanol (96-100%) |  | 5,0 liters |  |  |
| 1.21 | Biological indicator for testing steam sterilization processes at 121 °C / 134 °C |  | 500 units |  |  |
| 1.22 | Sterilizer Indicator Tape for testing steam sterilization processes at 121 °C / 134 °C |  | 480 units |  |  |
| 1.23 | Liquid nitrogen |  | 150 liters |  |  |
| Total for Lot N1 |  |  |  |  |  |
| Lot N2 – Glassware and supplies |  |  |  |  |  |
| 2.1 | # Culture tubes |  | 3000 units |  |  |
| 2.2 | Strip of 8 tubes with strip of 8 clear flat cap for PCR, 0.2mL (50 box*125 strip tubes*125 strip flat cap) |  | 6250 units |  |  |
| 2.3 | Universal filtered pipette tips, 0,1 – 10 μl |  | 200 racks |  |  |
| 2.4 | Universal filtered pipette tips, 2 – 20 μl |  | 200 racks |  |  |
| 2.5 | Universal filtered pipette tips, 10 – 100 μl |  | 200 racks |  |  |
| 2.6 | Universal filtered pipette tips, 20 – 200 μl |  | 200 racks |  |  |
| 2.7 | Universal filtered pipette tips, 100 – 1000 μl |  | 200 racks |  |  |
| 2.8 | Pipettes Pasteur, 3.5mL |  | 2000 units |  |  |
| 2.9 | Universal viral transport system (UTM Virus Collection) |  | 2000 units |  |  |
| 2.10 | # Disposable sterile plastic serological pipets, 5.0mL |  | 7000 units |  |  |
| 2.11 | # Disposable sterile plastic serological pipets, 10.0mL |  | 7000 units |  |  |
| 2.12 | # Disposable sterile plastic serological pipets, 25.0mL |  | 2000 units |  |  |
| 2.13 | # Inoculation loops |  | 10000 units |  |  |
| 2.14 | # Syringe, 5 ml |  | 2000 units |  |  |
| 2.15 | # Syringe, 10 ml |  | 2000 units |  |  |
| 2.16 | # Syringe, 20 ml |  | 2000 units |  |  |
| 2.17 | # Syringe, 30 ml |  | 1000 units |  |  |
| 2.18 | # Syringe filter 0,22 μm pore size |  | 5000 units |  |  |
| 2.19 | # pH Test Strips |  | 3 units |  |  |
| 2.20 | Plastic Bucket with lid (for food) 10 L |  | 20 units |  |  |
| 2.21 | Plastic Bucket 5 L |  | 20 units |  |  |
| 2.22 | Sterilizer Indicator Tape Dispenser |  | 2 units |  |  |
| 2.23 | Cryogenic Storage Box 25 Place Pk8 |  | 5 units |  |  |
| Total for Lot N2 |  |  |  |  |  |
| Lot N3 – Protective equipments |  |  |  |  |  |
| 3.1 | Powder-free latex/nitrile gloves, size S in box 50 pairs |  | 100 box |  |  |
| 3.2 | Powder-free latex/nitrile gloves, size M in box 50 pairs |  | 100 box |  |  |
| 3.3 | Latex gloves, size M, nonsterile, in box 50 pairs |  | 100 box |  |  |
| 3.4 | # Disposable gowns, size M |  | 3000 units |  |  |
| 3.5 | # FFP2 Valved Disposable Dust Mask |  | 5000 units |  |  |
| 3.6 | # Safety gogles (safety glasses) |  | 3000 units |  |  |
| 3.7 | # Poly-Coated Shoe Covers |  | 10000 units |  |  |
| 3.8 | # Laboratory safety shoes (closed) |  | 21 pairs |  |  |
| 3.9 | # Laboratory safety shoes (open) |  | 21 pairs |  |  |
| 3.10 | # Medical gowns |  | 42 units |  |  |
| 3.11 | # Refill bags with 100 wipes |  | 200 units |  |  |
| 3.12 | # Rubber gloves |  | 500 pairs |  |  |
| 3.13 | # Cleaning set |  | 110 units |  |  |
| 3.14 | # Autoclavable Decontamination Bags Durable |  | 1000 units |  |  |
| 3.15 | # First aid kit (set) |  | 8 units |  |  |
| Total for Lot N3 |  |  |  |  |  |

### Note: In case of discrepancy between unit price and total derived from unit price, the correction will be done as provided in Paragraph 7 (iii) of the Invitation to quote

- Fixed Price:  The prices indicated above are firm and fixed and not subject to any adjustment during contract performance.

- The Purchaser reserves the right at the time of contract finalization to increase or decrease by up to 15% the quantity of goods and services originally specified without any change in unit prices as other terms and conditions.

- Country of Origin: The goods offered should have their origin in World Bank member countries, and you will be required to furnish a certificate of origin for each item.

- Delivery Schedule: The delivery should be completed as per above schedule but not exceeding 60 days from contract signature. The Supplier shall be the sole responsible for failure to comply with the obligations he undertook in the agreement, the PAS Center is entitled to deduct the equivalent of 0,1% per day of delay out of the total  value of the agreement but not more than 5% of the contract value. This amount will replace penalties as such.

- Applicable Law: The Contract shall be interpreted in accordance with the laws of the Purchaser's country.

- Resolution of Disputes: The Purchaser and the Supplier shall make every effort to resolve amicably by direct informal negotiation any disagreement or dispute between them under or in connection with the Contract. In the case of a dispute between the Purchaser and the Supplier, the dispute shall be settled in accordance with the country procedures.

- Delivery and Documents: Upon shipment, the Supplier shall notify the Purchaser the full details of shipment, including contract number, description of goods, quantity, etc. The Supplier shall submit the following documents to the Purchaser:

- delivery document duly filled in, signed and sealed.

- manufacturer's or supplier's warranty certificate (if applicable);

- certificate of origin;

- certificate of quality.

- Payment: Invoices will be paid in 3 (three) working days in an amount of 100% against shipping documents and signature of acceptance certificate.

- Warranty: Goods offered should be covered by manufacturer’s warranty.

- Packaging and Marking Instructions: The Supplier shall provide standard packing of the Goods as required preventing their damage or deterioration during transit to their final destination, as indicated in the Contract.

- Defects: All defects will be corrected by the Supplier without any cost to the Purchaser within 30 day from the date of notice by Purchaser.

- Force-Majeure:  The supplier shall not be liable for penalties or termination for default if and to the extent that its delay in performance or other failure to perform its obligations under the Contract is the result of an event of Force-Majeure.

For purposes of this clause, “Force-Majeure” means an events beyond the control of the Supplier and not involving the Supplier’s fault or negligence and not foreseeable. Such events may include, but not restricted to, act of Purchaser in its sovereign capacity, wars or revolutions, fires, floods, epidemics, quarantine restrictions, and freight embargoes.

If a Force-Majeure situation arises, the Supplier shall promptly notify the purchaser in writing of such condition and the cause thereof. Unless otherwise directed by the Purchaser in writing, the Supplier shall continue to perform its obligations under the Contract as far as is reasonably practical, and shall seek all reasonable alternative means for performance not prevented by Force-Majeure event.

- Required Technical Specifications

| Nr. | Name of the product | Specifications and Requirements |
| --- | --- | --- |
| Lot N1 – Diagnostic & biochemical reagents, medium |  |  |
| 1.1 | Medium for cell cultivation (D-MEM), 20 bottles of 500 mL | - Purpose: Medium for cell cultivation D-MEM – Dulbecco’s Modified Eagle Medium; with High glucose (with 4500 mg/L glucose) and L-Glutamine, Liquid form, bottles of 500 mL Containing: Components; Molecular Weight; Concentration (mg/L); mM. Amino Acids. Glycine; 75; 30; 0.4. L-Arginine hydrochloride; 211; 84; 0.398. L-Cystine 2HCl; 313; 63; 0.201. L-Glutamine; 146; 584; 4. L-Histidine hydrochloride-H2O; 210; 42; 0.2. L-Isoleucine; 131; 105; 0.802. L-Leucine; 131; 105; 0.802. L-Lysine hydrochloride; 183; 146; 0.798. L-Methionine; 149; 30; 0.201. L-Phenylalanine; 165; 66; 0.4. L-Serine; 105; 42; 0.4. L-Threonine; 119; 95; 0.798. L-Tryptophan; 204; 16; 0.0784. L-Tyrosine disodium salt dihydrate; 261; 104; 0.398. L-Valine; 117; 94; 0.803. Vitamins. Choline chloride; 140; 4; 0.0286. D-Calcium pantothenate; 477; 4; 0.00839. Folic Acid; 441; 4; 0.00907. Niacinamide; 122; 4; 0.0328. Pyridoxine hydrochloride; 204; 4; 0.0196. Riboflavin; 376; 0.4; 0.00106. Thiamine hydrochloride; 337; 4; 0.0119. i-Inositol; 180; 7.2; 0.04. Inorganic Salts. Calcium Chloride (CaCl2) (anhyd.); 111; 200; 1.8. Ferric Nitrate (Fe(NO3)3"9H2O); 404; 0.1; 0.000248. Magnesium Sulfate (MgSO4) (anhyd.); 120; 97.67; 0.814. Potassium Chloride (KCl); 75; 400; 5.33. Sodium Bicarbonate (NaHCO3); 84; 3700; 44.05. Sodium Chloride (NaCl); 58; 6400; 110.34. Sodium Phosphate monobasic (NaH2PO4-H2O); 138; 125; 0.906. Other Components. D-Glucose (Dextrose); 180; 4500; 25. Phenol Red; 376.4; 15; 0.0399. Suitability: Sterile-filtered, endotoxin tested, cell culture tested. Certificate CE, WHO Approved origin, in vitro diagnostic |
| 1.2 | Dulbecco's Modified Eagle Medium, 10 bottles of 500 mL | - Purpose: Dulbecco's Modified Eagle Medium/ Nutrient Mixture F-12 Ham (DMEM/F12, 1:1 Mixture) With L-Glutamine, Trace elements and Sodium bicarbonate Without HEPES buffer 1X Liquid Cell Culture Medium bottles of 500 mL Composition : Ingredients mg/L INORGANIC SALTS Ammonium metavanadate 0.00058 Ammonium molybdate tetrahydrate 0.00618 Calcium chloride dihydrate 154.500 Copper sulphate pentahydrate 0.0013 Disodium hydrogen phosphate 71.020 Ferric nitrate nonahydrate 0.050 Ferrous sulphate heptahydrate 0.417 Magnesium chloride hexahydrate 61.200 Magnesium sulphate anhydrous 48.840 Manganese sulphate 0.000151 Nickel chloride 0.00012 Potassium chloride 311.800 Sodium bicarbonate 1200.000 Sodium chloride 6996.000 Sodium dihydrogen phosphate 54.300 Sodium metasillicate nonhydrate 0.0142 Sodium selenite 0.00519 Stannous chloride dihydrate 0.00011 Zinc sulphate heptahydrate 0.432 AMINO ACIDS Glycine 18.750 L-Alanine 4.450L-Arginine hydrochloride 147.500 L-Asparagine monohydrate 7.500 L-Aspartic acid 6.650 L-Cysteine dihydrochloride 17.560 L-Cystine hydrochloride monohydrate 31.290 L-Glutamic acid 7.350 L-Glutamine 365.000 L-Histidine hydrochloride monohydrate 31.480 L-Isoleucine 54.470 L-Leucine 59.050 L-Lysine hydrochloride 91.250 L-Methionine 17.240 L-Phenylalanine 35.480 L-Proline 17.250 L-Serine 26.250 L-Threonine 53.450 L-Tryptophan 9.020 L-Tyrosine disodium salt 48.100 L-Valine 52.850 VITAMINS Choline chloride 8.980 D-Biotin 0.0035 D-Ca-Pantothenate 2.240 Folic acid 2.660 Niacinamide 2.020 Pyridoxal hydrochloride 2.000 Pyridoxine hydrochloride 0.031 Riboflavin 0.219 Thiamine hydrochloride 2.170 Vitamin B12 0.680 myo-Inositol 12.600 OTHERS D-Glucose 3151.000 DL-Thioctic acid 0.105 Hypoxanthine 2.400 Linoleic acid 0.042 Phenol red sodium salt 8.630 Putrescine hydrochloride 0.081 Sodium pyruvate 110.000 Thymidine 0.365 Suitability: Sterile-filtered, endotoxin tested, cell culture tested. Certificate CE, WHO Approved origin, in vitro diagnostic |
| 1.3 | Dulbecco's Modified Eagle Medium (DMEM) With 4.5gm Glucose per litre, L-Glutamine, 25mM HEPES buffer, Sodium pyruvate and Sodium bicarbonate, 10 bottles of 500 mL | - Purpose: Dulbecco's Modified Eagle Medium (DMEM) With 4.5gm Glucose per litre, L-Glutamine, 25mM HEPES buffer, Sodium pyruvate and Sodium bicarbonate 1X Liquid Cell Culture Medium bottles of 500 mL Composition : Ingredients mg/L INORGANIC SALTS Calcium chloride dihydrate 265.000 Ferric nitrate nonahydrate 0.100 Magnesium sulphate anhydrous 97.720 Potassium chloride 400.000 Sodium bicarbonate 3700.000 Sodium chloride 6400.000 Sodium phosphate monobasic anhydrous 109.000 AMINO ACIDS Glycine 30.000 L-Arginine hydrochloride 84.00 L-Cystine dihydrochloride 62.570 L-Glutamine 584.000 L-Histidine hydrochloride monohydrate 42.000 L-Isoleucine 105.000 L-Leucine 105.000 L-Lysine hydrochloride 146.000 L-Methionine 30.000 L-Phenylalanine 66.000 L-Serine 42.000 L-Threonine 95.000 L-Tryptophan 16.000 L-Tyrosine disodium salt 103.790 L-Valine 94.000 VITAMINS Choline chloride 4.000 D-Ca-Pantothenate 4.000 Folic acid 4.000 Nicotinamide 4.000 Pyridoxal hydrochloride 4.000 Riboflavin 0.400 Thiamine hydrochloride 4.000 i-Inositol 7.200 OTHERS D-Glucose 4500.000 HEPES buffer 5958.000 Phenol red sodium salt 15.900 Sodium pyruvate 110.0000 L-Cystine dihydrochloride 62.570 Suitability: Sterile-filtered, endotoxin tested, cell culture tested. Certificate CE, WHO Approved origin, in vitro diagnostic |
| 1.4 | Trypsin-TPCK treated (2 bottles x 25,0 mg) | - Purpose: Trypsin-TPCK (N-tosyl-L-phenylalanyl chloromethyl ketone) treated from bovine pancreas. Cell culture tested. For R&D use only. Product description: Enzyme Commission (EC) Number: 3.4.21.4 CAS RN: 9002-07-7 Molecular Weight: 24 kDa Extinction Coefficient: E1% = 12.9 - 15.4 (280 nm) pI: 10.1 - 10.5 Storage conditions: - 20ºC Certificate CE, WHO Approved origin. |
| 1.5 | Trypsin-EDTA solution, 0,05% | - Purpose: 0.05% Trypsin-EDTA (1X) (Trypsin-ethylenediaminetetraacetic acid) (0,05% trypsin; 0.53 mM EDTA x 4Na), phenol red Containing: Components; Molecular Weight; Concentration (mg/L); mM. Inorganic Salts. Potassium Chloride (KCl); 75.0; 400.0; 5.3333335. Potassium Phosphate monobasic (KH2PO4); 136.0; 60.0; 0.44117647. Sodium Bicarbonate (NaHCO3); 84.0; 350.0; 4.1666665. Sodium Chloride (NaCl); 58.0; 8000.0; 137.93103. Sodium Phosphate dibasic (Na2HPO4-7H2O); 268.0; 90.0; 0.33582088. Other Components. D-Glucose (Dextrose); 180.0; 1000.0; 5.5555553. EDTA 4Na 2H2O; 416.2; 200.0; 0.4805382. Phenol Red; 398.0; 10.0; 0.025125628. Trypsin; 23800.0; 500.0; 0.021008404. Storage conditions: -5 to -20°C. Shipping conditions: Frozen. Shelf life: 24 months from date of manufacture. Suitability: Sterile-filtered, endotoxin tested, cell culture tested. Certificate CE, EU Approved origin, in vitro diagnostic |
| 1.6 | Penicillin-Streptomycin mixture 100 X | - Purpose: Validated Application: Prevention of Cell Culture Contamination Agent: Penicillin (10 000 U/ml) , Streptomycin sulfate (10 000 μg/ml) Form: Liquid Reagent Type: Antibiotic, Concentrated: 100 X Product Size: 20 mL (5 x 20 mL) Regulatory Statement: For Research Use Only. Not for use in diagnostic procedures. Storage conditions: -5 to -20°C Shipping conditions: Frozen Shelf life: 24 months from date of manufacture Certificate CE, EU Approved origin, in vitro diagnostic |
| 1.7 | Fetal bovine serum (FBS), bulk 500 mL | - Purpose: Certified FBS undergoes special biochemical and hormonal profile and bacterial testing. Lowest-endotoxin. Good for sensitive cell lines. Quality Level; GMP. sterility; sterile-filtered. composition; Hemoglobin, ≤20 mg/dL. impurities; ≤10 EU/mL endotoxin. suitability; suitable for sensitive cell culture. Suitability: Sterile-filtered, cell culture tested; Storage conditions: - 20ºC Shipped in: dry ice. Certificate CE, WHO Approved origin. |
| 1.8 | HEPES buffer solution 1M Bulk 100ml | - Purpose: 1M stock solution in H2O, pH 6.0-8.0; Synonym: 4-(2-Hydroxyethyl)piperazine-1-ethanesulfonic acid; Molecular formula: C8H18N2O4S; Molecular weight: 238.30; Suitability: molecular biology grade, DNAse/RNAse none detected, chemically and enzymatically stable. Certificate CE, EU Approved origin, in vitro diagnostic |
| 1.9 | Albumin Bovine Fraction V Bottle 100ml | - Purpose: Albumin Bovine Fraction V 7,5%, for cell cultivation, sterile-filtered, endotoxin tested, cell culture tested Form: Liquid; Certificate CE, EU Approved origin, in vitro diagnostic |
| 1.10 | Geniticin G418-Sulphate (2 bottles x 5,0 g) | - Purpose: Geniticin G418-Sulphate, Specification. Purity (HPLC); >90-93%. Potency claimed (µg/mg); 718-735. Potency upon retest (µg/mg); 718-735. ED50 Assay (µg/ml); 2450-2700. Form: Powder Reagent Type: AntibioticX Product Size: 5,0 g Regulatory Statement: For Research Use Only. Not for use in diagnostic procedures. Storage conditions: 15°C to 30°C Shelf life: 3 years from date of manufacture Certificate CE, EU Approved origin, in vitro diagnostic |
| 1.11 | Geniticin G418-Sulphate | - Purpose: Geniticin G418-Sulphate, Form: Liquid Reagent Type: Antibiotic, Product Size: 20 mL Regulatory Statement: For Research Use Only. Not for use in diagnostic procedures. Storage conditions: 2 to 8°C, protect from light Shipping conditions: on cold Shelf life: 24 months from date of manufacture Certificate CE, EU Approved origin, in vitro diagnostic |
| 1.12 | Alsever’s Solution | - Purpose: Alsever’s Solution, Form: Liquid; This product is composed of (in g/L): - NaCl (4.2) - Citric Acid•3Na•2H2O (8.0) - Citric Acid•H2O (0.55) - D-Glucose (20.5). Shelf life: no less than 24 months from date of manufacture Certificate CE, EU Approved origin, in vitro diagnostic |
| 1.13 | Parainfluenza genotyping RT-PCR kit | - Purpose: Kit for real-time (preferential) or conventional genotyping RT-PCR (reverse transcriptase polymerase chain reaction) testing; - Sensibility > 95%; Specificity 100 %; - Detects and typing most important genotypes of parainfluenza virus; - Quality management system: ISO and CE mark; - Kit contains all necessary reagents for nucleic acid extraction, revers transcription, amplification, detection and control test. Shelf life: no less than 24 months from date of manufacture |
| 1.14 | Respiratory syncytial virus (RSV) RT-PCR kit | - Purpose: Kit for real-time (preferential) or conventional RT-PCR (reverse transcriptase polymerase chain reaction) testing; - Sensibility > 95%; Specificity 100 %; - Quality management system: ISO and CE mark; - Kit contains all necessary reagents for nucleic acid extraction, revers transcription, amplification, detection and control test. Shelf life: no less than 24 months from date of manufacture |
| 1.15 | Adenovirus PCR kit | - Purpose: Kit for real-time (preferential) or conventional PCR (polymerase chain reaction) testing; - Sensibility > 95%; Specificity 100 %; - Quality management system: ISO and CE mark; - Kit contains all necessary reagents for nucleic acid extraction, amplification, detection and control test. Shelf life: no less than 24 months from date of manufacture |
| 1.16 | ORVI-screen-FL kit | - Purpose: Kit for real-time (preferential) or conventional PCR (polymerase chain reaction) testing. A set of reagents for the detection and identification of specific nucleic acid fragments of pathogens of acute respiratory viral infections (SARS): human respiratory syncytial virus (hRSv), human metapneumovirus (hMpv), human parainfluenza viruses 1, 2, 3, and 4 types (hPiv), human coronaviruses of OS43, E229, NL63, HKUI (hCov), human rhinovirus (hRv), human adenovirus DNA groups B, C and E (hAdv) and human bokavirus (hBov) in clinical material. - Sensibility > 95%; Specificity 100 %; - Quality management system: ISO and CE mark; - Kit contains all necessary reagents for nucleic acid extraction, revers transcription, amplification, detection and control test. Shelf life: no less than 24 months from date of manufacture |
| 1.17 | MERS-Coronavirus PCR kit | - Purpose: Kit for real-time (preferential) or conventional RT-PCR (reverse transcriptase polymerase chain reaction) testing; - Sensibility > 95%; Specificity 100 %; - Quality management system: ISO and CE mark; - Kit contains all necessary reagents for nucleic acid extraction, revers transcription, amplification, detection and control test. Shelf life: no less than 24 months from date of manufacture |
| 1.18 | Revers Transcription kit | - Purpose: Kit for revers transcription reaction suitable for ORVI-screen-FL kit. Designed to produce cDNA on RNA template for subsequent PCR analysis; - Quality management system: ISO and CE mark; Shelf life: no less than 24 months from date of manufacture |
| 1.19 | RNA/DNA Column Extraction kit from biological samples | - Purpose: RNA/DNA Extraction kit from biological samples (nasal swabs) designed for rapid preparation of highly pure viral nucleic acids, including Influenza viruses. Containing: Collecting tubes for all steps of extraction Suitability: molecular biology grade, Dnase, Rnase free. Storage and shipping conditions: 15°C to 25°C - Quality management system: ISO and CE mark; Shelf life: no less than 24 months from date of manufacture |
| 1.20 | Alcohol/Ethanol (96-100%) | - Purpose: Ethanol (96-100%). Storage conditions:well-sealed containers, room temperature Shelf life: no less than 5 years from date of manufacture Certificate CE, EU Approved origin, |
| 1.21 | Biological indicator for testing steam sterilization processes at 121 °C / 134 °C | - Purpose: designed for the validation and routine control of steam sterilization processes at 121 °C / 134 °C. Storage conditions: room temperature Shelf life: no less than 5 years from date of manufacture Certificate CE, EU Approved origin, |
| 1.22 | Sterilizer Indicator Tape for testing steam sterilization processes at 121 °C / 134 °C | - Purpose: designed for the validation and routine control of steam sterilization processes at 121 °C / 134 °C. - Dual-purpose adhesive tape seals the sterilization pack, then visually indicates that pack has been exposed to the steam sterilization cycle - Color changes apparently during the process. Size 3/4" x60yds (48pcs/box) Steam Autoclave Tape reliable indication and easy to use Storage conditions: room temperature Shelf life: no less than 5 years from date of manufacture Certificate CE, EU Approved origin |
| 1.23 | Liquid Nitrogen | - Purpose: Liquid Nitrogen - odorless, colorless, non-corrosive and nonflammable liquefied gas, for maintaining cell cultures for influenza viruses isolation and identification |
| Lot N2 – Glassware and supplies |  |  |
| 2.1 | Cell Culture Tubes, 16 mm | - Purpose: Cell Culture Tubes  Polystyrene tubes, polyethylene caps  Flat-sided tube with 5.5cm3culture area for grow of adherent cells  Flat-sided tube for easy microscopy  Medium retained in the flat-sided tube in horizontal position Length (Metric) 110mm, Type Flat Sided; Volume (Metric) Working 3mL; Width (Metric) 16mm; Over notes: disposable, non-pyrogenic, non-cytotoxic, non-mutagenic; Color: natural; Suitability: Sterile, sterilized by gamma radiation. Cell culture tested Shelf life: no less than 5 years from date of manufacture WHO approved, CE approved origin |
| 2.2 | Strip of 8 tubes with strip of 8 flat caps for PCR, 0.2mL | - Purpose: strip of 8 polypropylene tubes with strip of 8 flat caps (transparent) for PCR applications (provide optimum contact with thermal cycler blocks for rapid cycle time); Size: 0.2mL; Over notes: sterile gamma-irradiated; Compatible with all commonly used thermal cyclers Certified free of Detectable RNAse/DNAse, DNA and PCR inhibitors Color: natural translucent. Shelf life: no less than 5 years from date of manufacture CE approved origin |
| 2.3 | Universal filtered pipette tips, 0,5 – 10 μl | - Purpose: Universal polypropylene filtered pipette tips with hydrophobic filter for preventing cross-contamination of sample during delivery, molecular biology application; Compatibility: compatible with Discovery+ automatic pipettors, volumes 0,5 – 10 μl; Wrap: Rack 96, sterile; Color: naturally clear color for easy see fluid level; Suitability: Sterile gamma-irradiated, suitable for PCR technology – certified RNAse/DNAse free. Shelf life: no less than 5 years from date of manufacture CE approved origin |
| 2.4 | Universal filtered pipette tips, 2 – 20 μl | - Purpose: Universal polypropylene filtered pipette tips with hydrophobic filter for preventing cross-contamination of sample during delivery, molecular biology application; Compatibility: compatible with Discovery+ automatic pipettors, volumes 2 – 20 μl; Wrap: Rack 96, sterile; Color: naturally clear color for easy see fluid level; Suitability: Sterile gamma-irradiated, suitable for PCR technology – certified RNAse/DNAse free. Shelf life: no less than 5 years from date of manufacture CE approved origin |
| 2.5 | Universal filtered pipette tips, 10 – 100 μl | - Purpose: Universal polypropylene filtered pipette tips with hydrophobic filter for preventing cross-contamination of sample during delivery, molecular biology application; Compatibility: compatible with Discovery+ automatic pipettors, volumes 10 – 100 μl; Wrap: Rack 96, sterile; Color: naturally clear color for easy see fluid level; Suitability: Sterile gamma-irradiated, suitable for PCR technology – certified RNAse/DNAse free. Shelf life: no less than 5 years from date of manufacture CE approved origin |
| 2.6 | Universal filtered pipette tips, 20 – 200 μl | - Purpose: Universal polypropylene filtered pipette tips with hydrophobic filter for preventing cross-contamination of sample during delivery, molecular biology application; Compatibility: compatible with Discovery+ automatic pipettors, volumes 20 – 200 μl; Wrap: Rack 96, sterile; Color: naturally clear color for easy see fluid level; Suitability: Sterile gamma-irradiated, suitable for PCR technology – certified RNAse/DNAse free. Shelf life: no less than 5 years from date of manufacture CE approved origin |
| 2.7 | Universal filtered pipette tips, 100 – 1000 μl | - Purpose: Universal polypropylene filtered pipette tips with hydrophobic filter for preventing cross-contamination of sample during delivery, molecular biology application; Compatibility: compatible with Discovery+ automatic pipettors, volumes 100 – 1000 μl; Wrap: Rack 96, sterile; Color: naturally clear color for easy see fluid level; Suitability: Sterile gamma-irradiated, suitable for PCR technology – certified RNAse/DNAse free. Shelf life: no less than 5 years from date of manufacture CE approved origin |
| 2.8 | Pipettes Pasteur, 3.5mL | - Purpose: Disposable plastic transfer pipets for microbiology, serology, immunology and tissue culture use; polypropylene. Wrapped 1-5 units. Capacity: 3.5mL; Bulb draw: 2.0mL; Suitability: offer ±10% accuracy, graduated, sterile. Shelf life: no less than 5 years from date of manufacture CE approved origin |
| 2.9 | # Universal viral transport system (UTM Virus Collection) | - Purpose: Kit for samples collection (swabs & universal viral transport system); Universal Transport Medium, UTM™, room temperature stable viral transport medium for collection, transport, maintenance and long term freeze storage of Viruses, such as Influenza specimens. UTM™ for using in Rapid Antigen Testing, DFA, Culture and for Molecular-based Assays. Swab: 2 regular size plastic/ polyester flocked applicators Tube size and contain: 16x100mm; 3ml UTM™ medium Suitability: sterile, individually wrapped. Shelf life: no less than 2 years from date of manufacture CE approved origin |
| 2.10 | # Disposable sterile plastic serological pipets, 5.0mL | - Purpose: Sterile, crystal-grade polystyrene serological pipets, cotton-plugged; Capacity: 5.0mL, negative graduation; Wrap: individual; Suitability: offer 0,75% accuracy with a 1% coefficient of variation, Contrast graduations, sterile. Shelf life: no less than 5 years from date of manufacture CE approved origin |
| 2.11 | # Disposable sterile plastic serological pipets, 10.0mL | - Purpose: Sterile, crystal-grade polystyrene serological pipets, cotton-plugged; Capacity: 10.0mL, negative graduation; Wrap: individual; Suitability: offer 0,75% accuracy with a 1% coefficient of variation, Contrast graduations, sterile. Shelf life: no less than 5 years from date of manufacture CE approved origin |
| 2.12 | # Disposable sterile plastic serological pipets, 25.0mL | - Purpose: Sterile, crystal-grade polystyrene serological pipets, cotton-plugged; Capacity: 25.0mL, negative graduation; Wrap: individual; Suitability: offer 0,75% accuracy with a 1% coefficient of variation, Contrast graduations, sterile. Shelf life: no less than 5 years from date of manufacture CE approved origin |
| 2.13 | # Inoculation loops | - Purpose: Plastic Inoculation loops for handling clinical samples, Loop total volume 10 micro liter /well Wrap: 10-20 units Suitability: sterile, nontoxic, no flaming required Shelf life: no less than 5 years from date of manufacture CE approved origin |
| 2.14 | # Syringe, 5 ml | - Purpose: Single use only. Non pyrogenic Wrap: individual Suitability: sterile, nontoxic. Shelf life: no less than 5 years from date of manufacture CE approved origin |
| 2.15 | # Syringe, 10 ml | - Purpose: Single use only. Non pyrogenic Wrap: individual Suitability: sterile, nontoxic. Shelf life: no less than 5 years from date of manufacture CE approved origin |
| 2.16 | # Syringe, 20 ml | - Purpose: Single use only. Non pyrogenic Wrap: individual Suitability: sterile, nontoxic. Shelf life: no less than 5 years from date of manufacture CE approved origin |
| 2.17 | # Syringe, 30 ml | - Purpose: Single use only. Non pyrogenic Wrap: individual Suitability: sterile, nontoxic. Shelf life: no less than 5 years from date of manufacture CE approved origin |
| 2.18 | # Syringe filter 0,22 μm pore size | - Purpose: Syringe filter 0,22 μm pore size. Max. Pressure: 4.5 bars Wrap: sterilized individually blister packed Suitability: PES membrane, nontoxic, non pyrogenic Shelf life: no less than 5 years from date of manufacture CE approved origin |
| 2.19 | # pH Test Strips | - Purpose: Strips measure 1/4" wide x 1 7/8" long. Each vial contains 100 strips with a color chart label on vial, pH range 0 – 12 Shelf life: no less than 5 years from date of manufacture |
| 2.20 | Plastic Bucket with lid 10 L | - Purpose: for storing of distilled water Capacity: 10 L Suitability: non-toxic polypropylene |
| 2.21 | Plastic Bucket 5 L | - Purpose: for disinfections Capacity: 5 L Suitability: Chemical resistant polypropylene bucket for technical work |
| 2.22 | # Sterilizer Indicator Tape Dispenser | - Purpose: Tape dispenser can hold between two and four rolls of indicator tape at one time. Each roller holds tape as wide as 1”. |
| 2.23 | Cryogenic Storage Box 25 Place Pk8 | - Purpose:  Manufactured in high quality polycarbonate  Compatible with most liquid nitrogen inventory systems  Drain and air vents included  Lids have alignment feature with base  Stackable for use without inventory systems  Numeric grid on lid and on insert for easy reference  Suitable for use down to -196°C  Frosted writing surface for ease of identification  Dimensions: 52x75x75mm (HxWxD) 1 package should contain 8 boxes. |
| Lot N3 – Protective equipment |  |  |
| 3.1 | Powder-free latex/nitrile gloves, size S in box 50 pairs | - Purpose: Powder-free disposable latex gloves for protection and comfort without the risks of laboratory interference, infection or allergic reaction; Package: 100 gloves per box; Size: Small (S); Thickness: 9,0 mils Color: blue Suitability: powder-free |
| 3.2 | Powder-free latex/nitrile gloves, size M in box 50 pairs | - Purpose: Disposable latex gloves for protection and comfort without the risks of laboratory interference, infection or allergic reaction; Package: 100 gloves per box; Size: Medium (M); Thickness: 9,0 mils Color: yellow Suitability: powder-free |
| 3.3 | Latex gloves, size M, non sterile, in box 50 pairs | - Purpose: Disposable latex gloves for protection and comfort without the risks of laboratory interference, infection or allergic reaction; Package: 100 gloves per box; Size: Medium (M); Color: natural Suitability: nonsterile |
| 3.4 | # Disposable gowns, size M | - Purpose: Protective clothing (for protection and comfort without the risks of laboratory interference, infection or allergic reaction). Excellent fluid resistant & breathability features. Manufactured from a non-woven material for extra coolness and comfort when worn over clothing. They have soft stockinet cuffs which are very comfortable and of real benefit when overgloving. Size: Medium (M) |
| 3.5 | # FFP2 Valved Disposable Dust Mask | -Purpose: FFP2 Valved Disposable Dust Mask ensures optimum shape retention and durability, and therefore protection, far superior to that of unsupported filtering face pieces, offers respiratory protection against fine toxic dust, fumes and water based mists/aerosols. Manufactured using spun bond PP Fabric which ensures that these masks won’t harm the skin if worn for longer period of time. Specifications: It has strong tie band. Ply adheres to European Class EN 14683 Type II R, CE marked. |
| 3.6 | # Safety gogles (safety glasses) | -Purpose: Safety gogles lightweight, durable Fectoggles safety goggles perform as safety impact goggles yet have the soft comfort of glasses. Snug foam flange seal offer extra protection, while the polycarbonate, anti-fog coating provides a clear, UV-free lens. Features: - Aspheric lens helps provide expansive coverage and an extended viewing range - Foam flange seals the perimeter of the lens to help keep out particulates and sweat - Fire-retardant, braided, elastic strap holds the goggles firmly in place Colour: Clear |
| 3.7 | # Poly-Coated Shoe Covers | -Purpose: Poly-Coated Shoe Covers embossed polypropylene for slip resistance. Liquid-resistant polyethylene-coated shoe covers offer protection against spills and bio-hazards. They are heat-sealed with a full elastic top for a snug, self-adjusting fit. Specifications: Used in laboratories. Universal Size (fits sizes 5-14) |
| 3.8 | # Laboratory safety shoes (closed) | -Purpose: Laboratory safety shoes (closed) (for protection and comfort without the risks of laboratory interference) Specifications: Liqiudproof. Insole soft and with anatomical footbed Lightweight midsole material. Slip Resistant outsole plate. CE Aprroved by UK ITS lab 100% cow genuine leather Size; Quantity. white; black. 35; 1; -. 37; 2; -. 38; 6; 1. 39; 3; -. 40; 2; 2. 42; -; 1. 43; -; 2. 44; -; 1. Gender: Unisex |
| 3.9 | # Laboratory safety shoes (open) | -Purpose: Laboratory safety shoes (open) (for protection and comfort without the risks of laboratory interference) Specifications: Liqiudproof. Insole soft and with anatomical footbed Lightweight midsole material. Slip Resistant outsole plate. CE Aprroved by UK ITS lab 100% cow genuine leather Size; Quantity. white; black. 35; 1; -. 37; 2; -. 38; 6; 1. 39; 3; -. 40; 2; 2. 42; -; 1. 43; -; 2. 44; -; 1. Gender: Unisex |
| 3.10 | # Medical gowns | -Purpose: Protective clothing (for protection and comfort without the risks of laboratory interference, infection or allergic reaction) Specifications: cotton woven material, lint-free, good tensile strength Size; Quantity. Female; Male. 38; 2; -. 40; 2; -. 44; 2; -. 46; 6; 4. 48; -; 2. 50; 4; -. 52; 6; 4. 54; -; 2. 58; 4; 2. 60; 2; -. |
| 3.11 | # Refill bags with 100 wipes | - Purpose: disinfection and cleaning of surfaces and equipment |
| 3.12 | # Rubber gloves | - Purpose: For refrigerators, autoclaves, etc. Slip resistant fingertips to help with gripping. With long cuffs Size L, nonsterile, pairs |
| 3.13 | # Cleaning set | -Purpose: UltraSpeed Floor Mopping System, FHP. Easy for cleaning difficult areas, maximum cleaning performance. Changeable color-coding clips within the buckets and extendable handles for coding of cleaning equipment. Easy swing push bar for mobility from other side of the system. Containing: Double bucket mop system (x5), Mop handle (x20), Microfiber mop pad (x50), Safe mop pad (25), Extendable handle with color-coding rings (x10) Conformity: WHO Biosafety guide |
| 3.14 | # Autoclavable Decontamination Bags Durable | - Purpose: high quality polypropylene bags have a unique external steam indicator which helps ensure that the contents are processed correctly. Each bag is printed in English and Spanish with biohazard labeling. Suitable for temperatures up to 150 °C Size: 55x70 cm |
| 3.15 | # First aid kit (set) | -Purpose: First aid kit, set Contain: Acid Relief*, Antacid/Maalox, Box of 60 Two-Tablet Pouches Aspirin Tablets, 5 Grain, 100 per Box Alcohol Wipes, 100 per Box Adhesive Tape, 12.7 mm x 2.4 m Medical tape self-adesive Antiseptic Spray, 59 mL (2 oz.), Pump Burn Spray, 59 mL (2 oz.), Pump Eye-Lert* Sterile Eyewash, 118 mL (4 oz.) Pain-A-Rest* Nonaspirin Tablets/Ibuprofen, Box of 200 Two-Tablet Pouches Pain-A-Rest Nonaspirin Tablets/Spasmotek, Box of 100 Two-Tablet Pouches PVP Iodine Wipes Stretch Bandage, 5 cm x 3.8 m (2" x 13') Triple-Antibiotic Ointment, 1 gm Ammonia 10ml 1 fl. Validol N10 2 Two-Tablet Pouches Calmocord 25ml (heart drops) 1 bottle Iod 10 ml 1 fl. Medical Tourniquet 1 unit Torch 1 piece |

Supplier confirms compliance with above specifications {In case of deviations supplier to list all such deviations}

- Failure to Perform: The Purchaser may cancel the Agreement if the Supplier fails to deliver the Goods, in accordance with the above terms and conditions, in spite of a 21 day notice given by the Purchaser, without incurring any liability to the Supplier.

NAME OF SUPPLIER________________________________________________

Authorized Signature________________________________________

Date: